# COVID-19 Detection from Chest X-ray Images using Deep Learning

Student: Rahul Doshi
Roll No.: AA.SC.P2MCA2401417
Course: MCA (AI) - Amrita Ahead

# Abstract

This project develops a deep learning system for automatic classification of chest X-ray images into four classes: COVID, Normal, Lung Opacity, and Viral Pneumonia. The COVID-19 Radiography Dataset was preprocessed, balanced, split into training, validation, and testing sets, and used to train a Custom CNN and a MobileNetV2 model. MobileNetV2 achieved the best performance with a test accuracy of 86.33%, demonstrating that transfer learning provides robust performance for chest X-ray image classification.

# Chapter 1 - Introduction

Coronavirus disease (COVID-19) created an urgent need for rapid diagnostic techniques. Although RT-PCR remains the reference standard, chest X-ray imaging can support clinical assessment. Deep learning enables automatic extraction of image features and can assist radiologists by providing fast and consistent predictions.

## Project Objectives

Develop an automated COVID-19 detection system using chest X-ray images.

Preprocess and prepare a balanced dataset.

Train and compare a Custom CNN and MobileNetV2.

Evaluate models using accuracy, precision, recall, F1-score and confusion matrix.

Select the best-performing model.

# Current Experimental Results

| Metric | Value |
| --- | --- |
| Dataset | COVID-19 Radiography Dataset |
| Classes | COVID, Lung Opacity, Normal, Viral Pneumonia |
| Image Size | 224 × 224 |
| Best Model | MobileNetV2 |
| Test Samples | 600 |
| Test Accuracy | 86.33% |
| COVID Precision | 91.18% |
| Viral Pneumonia Recall | 98.00% |

# Next Chapters

This document is Version 1. The remaining chapters will include Literature Review, Dataset Description, Data Preprocessing, Model Development, Results and Discussion, Conclusion, Future Scope, References, and Appendices.